LiftMaster	Distributed by ZeroDocs.com

SECTION 32 31 11 – GATE OPERATORS

- GENERAL

  - SUBMITTALS

    - Action Submittals:

      - Shop Drawings: Illustrate products, installation, and relationship to adjacent construction.

      - Product Data: Manufacturer’s descriptive data and product attributes.

    - Closeout Submittals:

      - Operation and Maintenance Data.

  - QUALITY ASSURANCE

    - Installer Qualifications: Firm specializing in work of this Section, with minimum [2] [__] years’ experience.

  - WARRANTY

    - Manufacturer’s [2] [5] [7] year warranty against material and manufacturing defects.

- PRODUCTS

  - MANUFACTURERS

    - Contract Documents are based on products by LiftMaster. www.LiftMaster.com

    - Substitutions: [Refer to Division 01.] [Not permitted.]

  - MANUFACTURED UNITS

    - Swing Gate Operators:

      - Model: CSW24UL.

      - Operation: Gear driven.

      - Meet UL 325, UL 991, ASTM F2200, and CAS C22.2 No. 247.

      - Motor: 24 VDC, continuous duty type, sized to gate conditions.

      - Monitoring and controls:

        - Internet connectivity: MyQ technology with 50 channel FHSS.

        - Radio receiver: Security+ 2.0 technology.

        - Monitored retro reflective photo eye.

      - Accessories:

        - Monitored safety devices: [Through-beam photo eyes.] [Wireless edge with transmitter and receiver.] [Wireless edge transceiver.] [Monitored wired safety edges.]

        - Wired monitored safety edges: [Small profile edge.] [Large profile edge.]

        - [One-button encrypted DIP remote control.] [Two button rolling code Security+ 2.0 learning remote control.] [Four button rolling code Security+ 2.0 learning remote control.]

        - Plug-in loop detector.

        - Internet gateway.

        - [CAPXLV] [CAPXM] Smart video intercom.

        - Wireless commercial keypad.

        - Three button visor remote control.

        - Solar panel kit.

- EXECUTION

  - INSTALLATION

    - Install in accordance with manufacturer’s instructions.

  - CLOSEOUT ACTIVITIES

    - Test and adjust operators for proper operation.

    - Demonstration: Demonstrate operation and programming of operators to Owner.

END OF SECTION