LiftMaster	Distributed by ZeroDocs.com

SECTION 32 31 11 – GATE OPERATORS

GENERAL

SUBMITTALS

Action Submittals:

Shop Drawings: Illustrate products, installation, and relationship to adjacent construction.

Product Data: Manufacturer’s descriptive data and product attributes.

Closeout Submittals:

Operation and Maintenance Data.

QUALITY ASSURANCE

Installer Qualifications: Firm specializing in work of this Section, with minimum [2] [__] years’ experience.

WARRANTY

Manufacturer’s [2] [5] [7] year warranty against material and manufacturing defects.

PRODUCTS

MANUFACTURERS

Contract Documents are based on products by LiftMaster. www.LiftMaster.com

Substitutions: [Refer to Division 01.] [Not permitted.]

MANUFACTURED UNITS

Swing Gate Operators:

Model: HDSW24UL.

Operation: Gear driven.

Meet UL 325, UL 991, ASTM F2200, and CAS C22.2 No. 247.

Motor: 24 VDC, continuous duty type, sized to gate conditions.

Monitoring and controls:

Internet connectivity: MyQ technology with 50 channel FHSS.

Radio receiver: Security+ 2.0 technology.

Monitored retro reflective photo eye.

Accessories:

Monitored safety devices: [Through-beam photo eyes.] [Wireless edge with transmitter and receiver.] [Wireless edge transceiver.] [Monitored wired safety edges.]

Wired monitored safety edges: [Small profile edge.] [Large profile edge.]

[One-button encrypted DIP remote control.] [Two button rolling code Security+ 2.0 learning remote control.] [Four button rolling code Security+ 2.0 learning remote control.]

Internet gateway.

[CAPXLV] [CAPXM] Smart video intercom.

Plug-in loop detector.

Solar panel kit.

Maglock.

Heater kit.

Reinforced long arm.

EXECUTION

INSTALLATION

Install in accordance with manufacturer’s instructions.

CLOSEOUT ACTIVITIES

Test and adjust operators for proper operation.

Demonstration: Demonstrate operation and programming of operators to Owner.

END OF SECTION