AMERISTAR® PERIMETER SECURITY USA INC.

ECHELON PLUS® - Aluminum Ornamental Fence System – Internally Secured
Construction Specification - SECTION 32 31 19
PART 1 - GENERAL
1.01 WORK INCLUDED
The contractor shall provide all labor, materials, and all necessary items for the installation of the Echelon Plus® ornamental aluminum fence system defined herein at (specify project site).

1.02 RELATED WORK
Section _ _ _ - Earthwork

Section _ _ _ - Concrete

1.03 SYSTEM   DESCRIPTION
The manufacturer shall supply a total ornamental aluminum fencing system of the Ameristar Echelon Plus® (specify Classic™, Majestic™, Genesis™, Warrior™, Conqueror™, Monarch™, Pool or Puppy) design.  The system shall include all components (i.e., pickets, posts, rails, gates, and hardware) required.

1.04 QUALITY ASSURANCE

The contractor shall provide laborers and supervisors who are thoroughly familiar with the type of construction involved and the materials specified.

1.05 REFERENCES

· ASTM B117 - Practice for Operating Salt-Spray (Fog) Apparatus.  

· ASTM B221 - Standard Specification for Aluminum and Aluminum-Alloy Extruded Bars, Rods, Wire, Profiles and Tubes.  

· ASTM D523 - Test Method for Specular Gloss.  

· ASTM D822 - Practice for Conducting Tests on Paint and Related Coatings and Materials using Filtered Open-Flame Carbon-Arc Light and Water Exposure Apparatus.  

· ASTM D1654 - Test Method for Evaluation of Painted or Coated Specimens Subjected to Corrosive Environments.  

· ASTM D2244 - Test Method for Calculation of Color Differences from Instrumentally Measured Color Coordinates.  

· ASTM D2794 - Test Method for Resistance of Organic Coatings to the Effects of Rapid Deformation (Impact).  

· ASTM D3359 - Test Method for Measuring Adhesion by Tape Test. 

· ASTM D6695 – Standard Practice for Xenon-Arc Exposures of Paint and Related Coatings

· IBC 2018 1607.8.1 Handrails and Guards

1.06 SUBMITTAL

The manufacturer's submittal package shall be submitted prior to installation to confirm compliance with all requirements for materials specified in this section.

1.07 PRODUCT   HANDLING   AND   STORAGE

Upon receipt at the job site, all materials shall be checked to ensure that no damages occurred during shipping or handling.  Materials shall be stored in such a manner to ensure proper ventilation and drainage and to protect against damage, weather, vandalism and theft.

PART 2 - MATERIALS

2.01 MANUFACTURER

The ornamental fence system shall conform to Ameristar’s Echelon Plus aluminum ornamental fencing, (specify Classic, Majestic, Genesis, Warrior, Conqueror, Monarch Pool, Majestic Pool, Conqueror Pool, Classic Puppy, Majestic Puppy, or Genesis Puppy ) (specify 2-rail, 3-rail, 4-rail, 3-rail with rings, or 4-rail with rings) style manufactured by Ameristar Perimeter Security USA Inc. in Tulsa, Oklahoma.  
2.02 MATERIAL

A.  Aluminum material for fence framework (i.e., tubular pickets, rails and posts) shall conform to the requirements of ASTM B221.  The aluminum extrusions for posts and rails shall be Alloy and Temper Designation 6005-T5.  The aluminum extrusions for pickets shall be Alloy and Temper Designation 6063-T52. 

B. Pickets shall be 3/4" square x .045" thick.  Horizontal rails shall be 1-1/4" x 1-7/16" Forerunner™ profile with .090" top wall, .060" internal web, and .110" side walls.  Forerunner rails shall be punched to accept pickets.  The rail shall be constructed with an internal web providing a raceway for the pickets to be retained with a 1/8” retaining rod.  The number of rails shall vary with the style, height and strength as determined by manufacturer.  Fence posts and gate posts shall meet the minimum size requirements of Table 1.
C. Accessories: Aluminum castings shall be used for all post caps, scrolls, finials, and other miscellaneous hardware.  Hinges and latches shall be fabricated from aluminum, stainless steel or composite materials.
2.03 FABRICATION
A. Pickets, rails and posts shall be pre-cut to specified lengths.  ForeRunner rails shall be pre-punched to accept pickets.  Grommets shall be inserted into the pre-punched holes in the rails and pickets shall be inserted through the grommets so that pre-drilled picket holes align with the internal upper raceway of the ForeRunner rails (Note: This can best be accomplished by using an alignment template).  Retaining rods shall be inserted into each ForeRunner rail so that they pass through the pre-drilled holes in each picket, thus completing the panel assembly.  Panels without rings shall be biasable up to a 12% change in grade.
B.  The manufactured framework shall be subjected to the Ameristar thermal stratification coating process (high-temperature, in-line, multi-stage, and multi-layer) including, as a minimum, a six-stage pretreatment/wash and an electrostatic spray application of a polyester finish.  The topcoat shall be a “no-mar” TGIC polyester powder coat finish with a minimum thickness of 2 mils (0.0508mm).  The color shall be (specify Black, Bronze, or White).  The stratification-coated framework shall be capable of meeting the performance requirements for each quality characteristic shown in Table 2.

C. Finish: All fence components shall be subject to a six-stage pretreatment/wash followed by an electrostatic spray application of a "no-mar" TGIC polyester powder coat finish with a minimum thickness of  2-4 mils.  The color shall be (specify black, bronze or white).
D. Classic, Majestic, Genesis & Warrior styles with 3 & 4-rail configurations as well as 4-rail Puppy panel styles shall meet IBC compliance.  Panel, post and bracket assemblies shall be subjected to structural performance testing according to Chapter 17 – Structural Tests and Special Inspections – International Building Code (IBC) 2018.  Physical testing to be completed by accredited third party testing facility.  Completed assembly shall demonstrate loading capacity of 2.5 times prescribed design loads found in section 1607.8.1, 1607.8.1.1 and 1607.8.1.2 of IBC 2018 for Handrails and Guards.  IBC compliant fence system requirements detailed within Table 4.
E.  Swing gates shall be fabricated using 1-1/4" x 1-7/16" Forerunner rail, 1.75” sq. x .125” gate ends, and 3/4” sq. x .080 pickets.  Gates that exceed 6’ in width will have a 1.75” sq. x .125” intermediate upright.  All rail and upright intersections shall be joined by welding.  All picket and rail intersections shall also be joined by welding.
PART 3 - EXECUTION

3.01 PREPARATION
All new installation shall be laid out by the contractor in accordance with the construction plans.

3.02 FENCE INSTALLATION

Fence post shall be spaced according to Table 3, plus or minus ½”.  For installations that must be raked to follow sloping grades, the post spacing dimension must be measured along the grade.  Fence panels shall be attached to posts with brackets supplied by the manufacturer.  Posts shall be set in concrete footers of sufficient depth and diameter to meet project specific requirements and conforms to any federal, state, and/or local codes.  The “Earthwork” and “Concrete” sections of this specification shall govern material requirements for the concrete footer.  Posts setting by other methods such as plated posts or grouted core-drilled footers are permissible only if shown by engineering analysis to be sufficient in strength for the intended application.  

3.03 FENCE INSTALLATION MAINTENANCE

When cutting/drilling rails or posts adhere to the following steps to seal the exposed surfaces; 1) Remove all metal shavings from cut area.  2) Apply custom finish paint matching fence color.  Failure to seal exposed surfaces per steps 1 & 2 above will negate warranty.  Ameristar spray cans or paint pens shall be used to finish exposed surfaces; it is recommended that paint pens be used to prevent overspray.  Use of non-Ameristar parts or components will negate the manufactures’ warranty.

3.04 GATE INSTALLATION

Gate posts shall be spaced according to the manufacturers’ gate drawings, dependent on standard out-to-out gate leaf dimensions and gate hardware selected.  Type and quantity of gate hinges shall be based on the application; weight, height, and number of gate cycles.  The manufacturers’ gate drawings shall identify the necessary gate hardware required for the application.  Gate hardware shall be provided by the manufacture of the gate and shall be installed per manufacturer’s recommendations.

3.05 CLEANING

The contractor shall clean the jobsite of excess materials; post-hole excavations shall be scattered uniformly away from posts.
	Table 1 – Minimum Sizes for Echelon Plus Posts

	Fence Posts
	Panel Height

	2-1/2” x 2-1/2” x .060”

w/ reinforced web
	Up to 6’ Height

	

	Gate Leaf
	Gate Height

	
	Up to & Including 4’
	Over 4’ Up to & Including 5’
	Over 5’ Up to & Including 6’

	Up to 4’
	2 1/2” x 2-1/2” x .060” Alum. 
	3” x 3” x .120” Alum.
	4” x 4” x .250” Alum. or 

3” x 3” x 12ga. Steel

	4’1” to 6’
	3” x 3” x .120” Alum.
	4” x 4” x .250” Alum. or 

3” x 3” x 12ga. Steel
	3” x 3” x 12ga. Steel

	6’1” to 8’
	4” x 4” x .250” Alum. or 

3” x 3” x 12ga. Steel
	4” x 4” x 11ga. Steel
	4” x 4” x 11ga. Steel


	Table 2 – Coating Performance Requirements

	Quality Characteristics
	ASTM Test Method
	Performance Requirements

	Adhesion
	D3359 – Method B
	Adhesion (Retention of Coating) over 90% of test area (Tape and knife test).

	Corrosion Resistance
	B117 & D1654
	Corrosion Resistance over 1000 hours (Scribed per D1654; failure mode is accumulation of 1/8” coating loss from scribe or medium #8 blisters).

	Impact Resistance
	D2794
	Impact Resistance over 60 inch lb. (Forward impact using 0.625” ball).

	Weathering Resistance
	D822, D2244, D523 (60˚ Method)
	Weathering Resistance over 1,000 hours (Failure mode is 60% loss of gloss or color variance of more than 3 delta-E color units).


	Table 3 – Echelon Plus – Post Spacing By Bracket Type

	Span
	8’ Nominal (91-3/4” Rail)

	Post Size
	2-1/2”
	2-1/2”
	3”
	2-1/2”
	3”

	Bracket Type
	Echelon Plus

Line Boulevard

(ABB3)
	Echelon Plus

Swivel*
(ABB2)
	Echelon Plus

Flat Mount

(ABB1)

	Post Settings
± 1/4” O.C.
	95”
	*95”
	*95-1/2”
	95”
	95-1/2”

	

	Span
	6’ Nominal (73-1/16” Rail)

	Post Size
	2-1/2”
	2-1/2”
	3”
	2-1/2”
	3”

	Bracket Type
	Echelon Plus

Line Boulevard

(ABB3)
	Echelon Plus

Swivel*
(ABB2)
	Echelon Plus

Flat Mount

(ABB1)

	Post Settings

± 1/4” O.C.
	76-1/4”
	*76-1/4”
	*76-3/4”
	76-1/4”
	76-3/4”

	*Note:  When using ABB2 swivel brackets on either or both ends of a panel installation, care must be taken to ensure the spacing between post and adjoining pickets meets applicable codes.  This will require trimming one or both ends of the panel. 


	Table 4 – Echelon Plus – IBC Compliant System Requirements

	Panel Options
	Post Options
	Brackets Options

	Styles 
	Rail Configuration
	Aluminum Post Options
	Steel Post Options
	Line Boulevard Brackets

	Monarch
	2-Rail
	3” SQ x .125 wall
	3” SQ x 12ga.
&
4” SQ x 12ga.
	End Boulevard Brackets

	Classic
	3-Rail 

& 4-Rail
	2.5” SQ x .060 wall w/ internal web
	
	Corner Boulevard Brackets

	Majestic
	
	3” SQ x .125 wall 
	
	*Flat Mount Brackets

	Genesis 
	
	Post Plate Options (anchorage by others)
	*Note:  Flat Mount Brackets require a thru-bolt installation

	Warrior
	
	8” x 8” x 3/8” – for 2.5” posts / (Monarch) 3” posts 
	

	Puppy Panel
	4-Rail
	10” x 10” x 3/8” – for 3” posts
	

	

	Panel, post, and bracket assemblies shall be subjected to structural performance testing according to Chapter 17 - Structural Tests and Special Inspections - International Building Code (IBC) 2018. Physical testing to be completed by accredited third party testing facility. Completed assembly shall demonstrate loading capacity of 2.5 times prescribed design loads found in section 1607.8.1, 1607.8.1.1 and 1607.8.1.2 of IBC 2018 for Handrails and Guards.


Echelon Plus Specification
Ameristar Perimeter Security USA Inc.
Rev. 01/23/2023
Page 1 of 5

